ATTACHMENT D

FACILITY:                           		DATE:

BLUEBONNET TRAILS COMMUNITY SERVICES

QUARTERLY SAFETY AND ENVIRONMENTAL CHECKLIST

RESIDENTIAL ---- WAC/DAC/RAC-------ADMIN OFFICES

EVACUATION PROCEDURES AND FIRE SAFETY EQUIPMENT

Y N NA	Has the site had its Annual Fire Marshall’s inspections? (Every site)

Y N NA	Fire Drills:  Gp Homes: monthly; one per each shift per quarter; 		  		  one night drill per qtr.

WAC/DAC/PRIDE and Foster Home: Quarterly

Amin Offices: Semi-annually:

If with WAC/DAC/PRIDE, quarterly

Y N NA	Tornado Drills: Gp Homes and Foster Homes: Quarterly

WAC/DAC/PRIDE: Quarterly

Admin Offices: Semi-annually:

If with WAC/DAC/PRIDE, Quarterly

Y N NA	Are identified problems resolved satisfactorily?

Y N NA	Quarterly inspections by Area Director or Designee (group homes, DAC’s, + WAC’S only).

Y N NA	Are appropriate U.A, UA/B/C, or UB/C fire extinguishers on site?

Y N NA	Is there a minimum of three appropriate fire extinguishers available per 2,000 sq. ft. of admin. or living/working space?

Y N NA	Have all fire extinguishers been inspected and tagged by a commercial fire inspection/service company within the past 12 months?

Y N NA	Have all fire extinguishers been inspected monthly?

Y N NA	Emergency Disaster Plan current and available on site.

Fire Alarm/Sprinkler System

(ICF Homes and any sprinkled area)

Y N NA	An underwriter’s Laboratory (U.L) listed manual fire alarm system with an interconnected automatic smoke detection system and alarm initiation is in place and tagged every 6 months.

Y N NA	Manual pulls are located at all exits. (Only for places with built in alarm).

Y N NA	Smoke detectors are located to be heard in all locations?

Y N NA      Is a smoke detector located in the kitchen area?

Y N NA	Audible/visual alarm devices (strobe/horn) are installed throughout the home so that an alarm can be hear/seen anywhere in the facility. (If no built in alarm system is in place)(Good but not required).

Y N NA	Is a copy of FML-009, State Fire Marshall’s Fire Alarm Installation Certificate, from the licensed installer and a written contract (ICF only) for maintenance and semi-annual inspections of the fire alarm system on file at the facility?

Y N NA	Has the sprinkler system and vent hoods (where applicable) been inspected by a licensed sprinkler installer and tagged with a green tag?

/tmp/in/input.doc

SAFETY AND ENVIRONMENTAL

1.	ENTRANCE TO THE BUILDING:

Y N NA	Are the grounds well groomed?

Y N NA	Is the building handicapped accessible to all client, staff, and the public?

Y N NA	Is there handicapped parking?

Y N NA	Are the sidewalks in good repair?

Y N NA	Are the screens on windows in good repair?

Y N NA	Do the entrance doors latch correctly?

Y N NA	Are entrance free of obstructions?

Y N NA	Is the outdoor equipment in good repair?

Y N NA 	Are cigarette butts placed in appropriate containers?

Y N NA	Are there trash containers available outside the building or home?

2.	ADMINISTRATIVE SPACE

Y N NA	Is there furniture to meet the needs of all individuals?

Y N NA	Is the room or area clean?

Y N NA	Is there adequate storage space available?

Y N NA	Are extension cords of the proper size and rating?

Y N NA	Are electrical outlet covers in place and undamaged?

Y N NA	Are exit and egress areas clear of obstructions?

Y N NA	Are there only metal or UL approved wastebaskets present?

Y N NA	Do all lights operate properly?

Y N NA	Is the drinking fountain clean and is there proper water flow?

Y N NA	Are paint/walls/baseboards/windows/window screens/window sills/mini blinds in good condition and clean?

Y N NA	Are all ceiling/floor tiles in place ad unbroken?

Y N NA	Is the area free of flies and other insects?

Y N NA	Are all housekeeping materials properly locked, separated and not accessible to clients?

Y N NA	Are “No Smoking” signs displayed?

Y N NA	Are evacuation routes posted?

Y N NA	Is a disaster plan available? (Group Homes only)

Y N NA	Are emergency/fire reporting procedures and phone numbers posted near and visible to each phone?

3.	BATHROOMS/RESTROOMS

Y N NA	Does each restroom stall have toilet paper?

Y N NA	Are there seats on all toilets?

Y N NA	Are toilet clean and flushed?

Y N NA	Are there doors on all stalls?

Y N NA	All sinks, showers, tubs, and counters, are in good working condition and clean?

Y N NA	Privacy is provided unless client is on toileting program?

Y N NA	Is the restroom area handicapped accessible?

Y N NA	Is restroom area free of soiled linen storage?

Y N NA	Are paper towels available from a dispenser and in adequate supply?

Y N NA	Is soap available in liquid dispensers or in labeled freestanding bottles?

Y N NA	Walls/mirrors/floors/vents/baseboards/window sills are clean?

Y N NA	Are there only metal or UL approved wastebaskets present?

Y N NA	Are approved wastebaskets clean and lined?

Y N NA	Is there ventilation? (ICF must have a fan).

Y N NA	Are the electrical outlets protected by ground fault interrupters if required?

Y N NA	Do all lights operate properly?

Y N NA	Are external release mechanisms provided for opening bathroom & closet doors that can be locked from the inside?

4.	LIVING ENVIRONMENT:

Y N NA	Is the living environment clean and neat?

Y N NA	Is there adequate furniture for all individuals to be seated at one time?

Y N NA	Is the furniture clean and in good repair?

Y N NA	Are the wheelchairs clean?

Y N NA	Do all lights operate properly?

Y N NA	Is the area free of offensive odors?

Y N NA	Are the paint/walls/window sills/windows/screens/baseboards in good condition?

Y N NA	Are the ceiling/floor tiles in place/unbroken/clean?

Y N NA	Are there only metal or UL approved plastic wastebaskets in use and lined?

Y N NA	Are the windows, miniblinds & screens clean and in good repair?

Y N NA	Are there curtains and/or miniblinds on all windows?

Y N NA	If rugs are used, are they non-slip?

Y N NA	Are there pictures on the wall at appropriate levels?

Y N NA	Are there undamaged outlet covers (face plates) on electrical outlets?

Y N NA	are evacuation routes posted?

Y N NA	Is the temperature not less than 68 degrees F. or more than 81 degrees F.?

Y N NA	If carpeted, is it clean & in good repair?

5.	BEDROOM AREAS:

Y N NA	Are external release mechanisms provided for opening closet doors that can be locked from the inside?

Y N NA	Are there three or fewer individuals per bedroom.

Y N NA	Are beds of proper length and height for the convenience of the individuals that use them?

Y N NA	Are the mattresses and box springs and frames clean and in no need of replacement?

Y N NA	Do all beds have good pillows unless contraindicated by a physician/positioning program?

Y N NA	Is the bedding appropriate to the weather and climate and in good conditions?

Y N NA	Does each individual have wardrobe/chest or closet accessible to him/her?

Y N NA	Are the insides of chest, wardrobes and closets free of accumulated debris.

Y N NA	Are the wardrobes/chests/furniture in good serviceable condition?

Y N NA	Is there an adequate supply of clean, seasonal clothing available?

Y N NA	Does each room have adequate lighting (no burned out bulbs)?

Y N NA	Are the windows/screens/paint/walls/window sills/baseboards clean and adequately maintained?

Y N NA	Are there curtains and/or miniblinds on all windows?

Y N NA	Is there an adequate supply of linens, towels, etc?

Y N NA	Are there pictures at appropriate level in each bedroom?

Y N NA	Is privacy provided when clients are in their own bedroom?

Y N NA	Are the individual’s personal belongings evident and readily available to him/her?

Y N NA	Is the room temperature not less than 68 degrees F. or more than 81 degrees F.?

Y N NA	Do bedrooms provide additional space for bedside assistance and storage of mobility devices?

Y N NA	Are ceiling and floor tiles in place and in good condition?

Y N NA	Are all electrical outlet faceplates unbroken and in good repair?

Y N NA	If carpeted, is it clean & in good repair?

6.	DINING ROOM/KITCHEN AREAS:

Y N NA	Is the dining area clean?

Y N NA	Are tables and chairs in good repair and clean?

Y N NA	Are tables and chairs at proper height?

Y N NA	Are insides of drawers, cupboards clean, organized and debris free; sinks and work surfaces clean?

Y N NA	Are cupboards and external cabinetry surfaces clean?

Y N NA	Is there adequate furniture?

Y N NA	Are the windows/screens/miniblinds clean and in good repair?

Y N NA	Are curtains clean and in goo repair?

Y N NA	Are proper utensils available and in sufficient quantity?

Y N NA	Are adaptive eating devices available as prescribed at mealtime?

Y N NA	Is the area free of live insects?

Y N NA	Is the refrigerator clean and odor free?

Y N NA	Are client food items stored separate from staff food in the refrigerator?

Y N NA	Are opened food containers in refrigerators covered, recently dated and contents identified?

Y N NA	Are resuscitation procedures posted?

Y N NA	Are soap and paper towels available for hand washing?

Y N NA	Are the paint/walls/window sills/baseboards/ceiling tiles/floor tiles in good condition (unbroken tiles)?

Y N NA	Are electrical outlets protected by ground fault interrupters?

Y N NA	If carpeted, is it clean & in good repair?

7.	STORAGE AND LAUNDRY

Y N NA 	Are storage rooms clean and organized?

Y N NA	Are 18 inches of free space present between top of stored items and sprinkler heads?

Y N NA	Are the doors to storage area locked when not in use?

Y N NA	Are dry cleaning items stored on a separate shelf from liquid cleaning items?

Y N NA	Are the clothes dryer and washer operational, clean, and lint free?

Y N NA	Is the lint filter present in the dryer?

Y N NA 	Is cleaning equipment stored properly away from food items?

Y N NA	Do soiled linen and clothes’ containers have covers?

Y N NA	Is the laundry room free from strong odor?

Y N NA	Is there adequate storage space for out of season clothing?

Y N NA	Is a lawn mower or other powered items stored in the garage?

Y N NA	If so, has it been drained of fuel? If stored outside may have gas in it.

8.	MEDICATION AREA OR ROOM:

Y N NA	Is the area clean?

Y N NA	Is the temperature of the refrigerator where medications are kept between 34-42 degrees F.?

Y N NA	Are all meds properly labeled?

Y N NA	Are used syringes disposed of properly?

Y N NA	Are controlled substances behind a double lock and key system?

Y N NA	Are discontinued or outdated drugs or drug containers with worn, illegible or missing labels disposed of promptly in safe manner?

Y N NA	Are garbage containers covered (except when contamination  is an issue during meals)?

Y N NA	Is there adequate lighting in the medication area?

Y N NA	Are medication room checks completed by the RN documented?

Y N NA	Is a current approved abbreviation list available?

Y N NA	Are labeled and filled liquid soap bottles (or liquid dispensers) and paper towels available?

Y N NA	Are electrical outlets protected by ground fault interrupters?

9.	WORKSHOP AREAS (WAC/DAC/RAC)

Y N NA 	Are there screens on windows and are they in good repair?

Y N NA	Do the exit doors latch correctly?

Y N NA	Are exits free of obstructions?

Y N NA	Can fire alarms be heard through out the building?

Y N NA	Are all exit lights and signs operating?

Y N NA	Are fire extinguishers readily available?

Y N NA	Are there outlet covers on electrical outlets?

Y N NA	Are the electrical outlets three pronged grounded?

Y N NA	Are poisonous substances locked in cabinets?

Y N NA	Are safety signs available when applicable?

Y N NA	Are operator areas marked with yellow boundaries? (If applicable)

Y N NA	Are guards in place on power equipment? (If applicable)

Y N NA	Is personal protective equipment available?

Y N NA	Are evacuation routes posted?

Y N NA	Is there a first aid kit readily accessible?

Y N NA	Are external release mechanisms provided for opening bathroom and closet doors that can be locked from the inside?

Y N NA	Are emergency telephone numbers posted? (Poison Control, Police, Fire reporting, Emergency Medical)

Y N NA	Are schedules maintained on machinery? (Maintenance)

Y N NA	Are the grounds well groomed?

Y N NA	Are the sidewalks in good repair? (If applicable)

Y N NA	Are out buildings in good repair and free of clutter?

Y N NA	Is the entrance way properly painted and in good condition?

Y N NA	Is lawn maintenance equipment in good repair and properly stored? (If applicable)

Y N NA	Is the furniture clean and in good repair?

Y N NA	Is the ceiling and floor in good repair?

Y N NA	Is there a daily cleaning checklist available?

Y N NA	Are toxic materials properly stored?

Y N NA	Are all sinks and counters clean and in good repair?

Y N NA	Are area walls and floors clean?

Y N NA	Are dry cleaning items stored on separate shelf above liquid cleaning items?

Y N NA	Are all containers labeled as to contents?

Y N NA	Are all flammable liquids in approved UL containers?

Y N NA	Is the bathroom area free of odors?

Y N NA	Is there adequate furniture for all clients to be seated at one time?

Y N NA	Do all lights in closets/store rooms have a protective cover surrounding light bulb?

Y N NA	Do all florescent lights have cover or guards?

Y N NA	Is there adequate ventilation available?

Y N NA	Are mirrors present and in good condition?

Y N NA	Do all lights operate properly?

Y N NA	Is the building handicapped accessible to all clients, staff, and the public?

Y N NA	Are storage rooms/cabinets, clean, orderly, and free of clutter?

Y N NA	Is the refrigerator temperature maintained 34 to 42 degrees F.?

Y N NA	Are there thermometers in all refrigerators.

Y N NA	Are heating and air conditioning systems capable of maintaining the comfort ranges of heating and cooling? (68-84 degrees)

Y N NA	Is the refrigerator clean and odor free?

Y N NA	Are opened food containers stored in the refrigerator covered, dated, and contents identified?

Y N NA	Are all trash cans appropriately lined?

Y N NA	Are medications properly stored?

Y N NA	Is there a current list of those who are authorized to administer medications?

Y N NA	Is there a current list of those who are authorized to supervise medications?

Y N NA	Is there an emergency services plan for each individual with a significant ongoing medical need?

Y N NA	Is there a Department of Labor Certificate posted?

Y N NA	Is there a Vendor Information Sheet for each contract?

Y N NA	Are there time studies?

Y N NA	Is there documentation for client payroll?

Y N NA	Is Section 504 “Discrimination of Handicapped” accessible?

Y N NA	Is there an OPM Manual in the office?

SAFETY - ENVIRONMENT REQUIRED POSTINGS

Y N NA	Is a current client Bill of Rights posted?

Y N NA	Is the Public Responsibility’s Address and Client Abuse Hotline (1-800-647-7418) posted in visible fashion?

Y N NA	Are emergency telephone numbers posted (Poison Control and Emergency posted on the phones?

Y N NA	Is the TDH HAZCOM notice posted?

Y N NA	Is the TX Worker Compensation Insurance coverage notice posted?

Y N NA	Is an Emergency Plan available? (Group Homes only)

Number of possible “yes” answers

Number of Yes” answers

Percent correct

Inspected By:                                         	Date:

MSDS - (Dept. Of Health) don’t need in group homes

YES - cleaning materials stored at WAC need MSDS

Chemical List- (2 tier report) if we do have over 55 gal.

HAZARD COMMUNICATION - SAFETY

1.	Has each new employee received the HAZCOM orientation in NEO?

2.	Has each employee reviewed the HAZCOM video refresher training annually?

3.	Is the required HAZCOM notice posted?

4.	Does the facility have a copy of OPM D-8 (HAZCOM Program)?

5.	Does this site have present any hazardous chemical in excess of 55 gal. or 500 pounds?  If so, is there a Chemical List posted?

6.	Are MSDSes (as appropriate) available on site and do staff members know where to find them?

7.	If Appropriate, are MSDSes up dated as new chemical items are brought on site?

8.	Are all containers clearly labeled?

9.	Are appropriate Personal Protective Equipment available on site?